## Slide 2: Theory
Express and in terms of and
The single diode equation
Solving equation 1 for and
Solving equation 1 for and

## Slide 3
Combine equation 2 and 3 to obtain equation 4 and 5
If the term
Equation 5 can be reduced to

## Slide 4
Extracted Parameters |  | 
Rs (Ω) | Rsh (kΩ) | n
-1.28 | 10.00 | 2.88
What is the problem?

## Slide 5
Current models for characterization are not reliable enough for high throughput characterization
  Negative parameters
  Initial guesses in literature are not applicable for all I-V data curves
    Too far from the actual solution
    Undefined at initial guess
  Non realistic parameters extracted
Solutions to these problems mean
  More reliable parameter
  Help understand the issue causing low fill factor
Problem Statement

## Slide 6
Possible Solution
Use trust region method
Apply constraints
Constraints derived from assuming one parameter influences the shape of the curve

## Slide 7
Objectives
Investigate the ability to extract accurate and sensible and for different IV data

## Slide 8
Simulate IV data
Generate evenly spaced voltage data from to .
Generate current with explicit single diode equation.
Specify the following
Introduce noise with signal to noise ratio (SR) of 45

## Slide 9: Simulated cases
Case | Rs (Ω) | Rsh (kΩ) | n
1 | 0.10 | 1.00E+03 | 1.00
2 | 25.00 | 1.00E+03 | 1.00
3 | 0.10 | 0.20 | 1.00
4 | 0.10 | 1.00E+03 | 2.50
5 | 25.00 | 1.00E+03 | 2.50
6 | 0.10 | 0.2 | 2.50
7 | 0.10 | 1.00E+03 | 5.00
8 | 25.00 | 0.2 | 5.00
Specify the following
= 1V
= 20 mA
= case(i,2)
= case(i,3)
= case(i,4)

## Slide 10: Simulated cases 1 - 4

## Slide 11: Simulated cases 5 - 8

## Slide 12: Parameter extraction: Gradients at and
2) Find and from data
3) Find and
4) Fit data with two 2nd order polynomials
1) Smooth current data
5) Differentiate 2nd order polynomial
6) Evaluate polynomials at I = 0 and

## Slide 13: Parameter extraction: Initial guesses

## Slide 14
can be retrieved by substituting the calculated in into equation (5). Equation (5) has been rearranged below to make as the subject of the formula.
Equation 6 and 5 can be subtracted to obtain to as function of known parameters.

## Slide 15: Parameter extraction: Solver Setting