## Slide 1: Solar Cell Characterization
By Adeline Antolis and Malith Rajapakse 23rd May 2018
Notes: Add in dates. Keep clean and neat.

## Slide 2: What is a solar cell?

## Slide 3: What is solar cell characterization?
Quantitave tool to measure the performance of a solar cell
Provides vital information on different factors affecting the performance
Used to compare different solar cells
Gives researchers ideas on how to improve a solar cell
Notes: Motivation for the research. We have 40 research doing research for solar cell research and printable. 100 solar cells in 1 hr.

## Slide 4: How are solar cells characterized?
Modelling I-V curve (current-voltage) and extracting parameters in the mathematical model
Important points:
Short circuit current
Open circuit voltage
Maximum power point
Notes: Introduce a solar cell. (30 seconds). You apply voltage across not against and you step the voltage and measure the current at each point.

## Slide 5: Existing Models
Models of equivalent electrical circuit -Single diode
Notes: Circle and explain. Take about recombination. High the voltage the more charge is recombined.
100 solar cells in one hour.

## Slide 6: How is the mathematical model obtained?
Single Diode Model
Shockley Diode equation:
where = reverse saturation current n = diode ideality factor, q = elementary charge (1.602 × C) = Boltzmann constant (1.38 x J/K) T = temperature

## Slide 7
Application of Ohm’s Law (V=IR) to obtain :
=
Application of Kirchhoff's junction rule to obtain :
 Characteristic equation
Notes: Make font size larger

## Slide 8: Characteristic equations
Single Diode
  5 parameters - , ,
Double Diode
  7 parameters - , , , , ,
Transcendental nature  parameter extraction is difficult
Notes: Just say that it in general terms.
Highlight the current in a different color like blue.

## Slide 9: Lambert W Function
Recent breakthrough in study of single diode model
EXACT analytical expression
Implicit  Explicit
Further simplifications to reduce 5 parameters to 3 parameters
Notes: No Italics of lambert W

## Slide 10: Simplifications
Express and in terms of and
Single Diode Equation:
Applying short circuit conditions, and
Applying open voltage conditions, and
where
Notes: Remove as much of the maths. Copy these slides to the end

## Slide 11
Combine (2) and (3) to obtain (4) and (5)
If the term
(5) can be reduced to
(4)
(5)
(6)
Notes: Simplier , straightfoward

## Slide 12
Combining (6) with exact analytical expression for lambert w function
Only 3 parameters – , ,
Parameter extraction is significantly simpler
Notes: Say that we are understand that it is not for reading right now

## Slide 13: Initial Values
Specify initials value for , to initiate calculation of parameters
One method by Zhang et al. substitutes and conditions into
At
(7)
Notes: Reference. Add a footnote. It should contain just the author, jornal,year,volume,year DELETE

## Slide 14
Accuracy of parameter extraction depends on initial guesses
  Bad initial guesses  unrealistic parameters
Problem Statement
Notes: Put the problem statement as early as possible. Have a aim slide, what is the aim and keep the

## Slide 15: Hypothesis
Applying constraints to the possible and will improve the accuracy of the extracted parameters.
Objectives
Apply constraints to the parameters to improve accuracy of parameter extraction
Investigate for wide range of solar cells
Notes: The future work cannot be the same as hypothesis.

## Slide 16: Parameter Constraints
 | Rs | Rsh | n
Upper Bound |  |  | 5 or
Lower Bound | 0.00 |  | 1
 | Rs | Rsh | n
Upper Bound |  |  | 
Lower Bound | 0.00 |  | 1
Reduce the residual error between the experimental data and model

## Slide 17: Methodology
Compare %error of extracted parameter from simulated parameters.
Compare root mean squares error (RMSE) for a literature solar cell IV curve.
Compare RMSE for a perovskite solar cell IV curve.

## Slide 18
Simulate IV data
Generate evenly spaced voltage data from to .
Generate current with explicit single diode equation.
Introduce noise with signal to noise ratio (SR) of 45
Specify the following
Notes: Remove the asterisk and put in multiplication symbol.
You need to explain why you are simulating data

## Slide 19: Simulated cases
Case | Rs (Ω) | Rsh (kΩ) | n
1 | 0.10 | 1.00E+03 | 1.00
2 | 25.00 | 1.00E+03 | 1.00
3 | 0.10 | 0.20 | 1.00
4 | 0.10 | 1.00E+03 | 2.50
5 | 25.00 | 1.00E+03 | 2.50
6 | 0.10 | 0.20 | 2.50
7 | 0.10 | 1.00E+03 | 5.00
8 | 25.00 | 0.20 | 5.00
Specify the following
= 1 V
= 20 mA
= case(i,2)
= case(i,3)
= case(i,4)
Notes: No need to explain.
Put in 1000’s instead of E
Reduce the number of cases.
Put ohms all the time

## Slide 20: Simulated cases 1 - 4
Case | Rs (Ω) | Rsh (kΩ) | n
1 | 0.10 | 1.00E+03 | 1.00
2 | 25.00 | 1.00E+03 | 1.00
3 | 0.10 | 0.20 | 1.00
4 | 0.10 | 1.00E+03 | 2.50
Notes: Case 1
Case 2
Case 3
Case 8

## Slide 21: Simulated cases 5 - 8
Case | Rs (Ω) | Rsh (kΩ) | n
5 | 25.00 | 1.00E+03 | 2.50
6 | 0.10 | 0.20 | 2.50
7 | 0.10 | 1.00E+03 | 5.00
8 | 25.00 | 0.20 | 5.00

## Slide 22: Parameter extraction: Gradients at and
Notes: Remove everything on the slide.
To get the initial guess we need to get the gradients.
Colour code the gradients.

## Slide 23: Parameter extraction (2) : Initial guesses

## Slide 24
can be retrieved by substituting the calculated in into equation (5). Equation (5) has been rearranged below to make as the subject of the formula.
Equation 6 and 5 can be subtracted to obtain to as function of known parameters.

## Slide 25: Deriving
Recall
Is reduced to
Assume and

## Slide 26: Results
Simulated IV characterization
Literature IV characterization
Perovskite sandwitch solar cells characterization

## Slide 27: Simulated case 1 - 4

## Slide 28: Simulated case 5 - 8

## Slide 29: Simulated results
Case | Rs |  |  | Rsh |  |  | n |  |  | RMSE
 | Actual | Extract | %Error | Actual | Extract | %Error | Actual | Extract | %Error | 
1 | 0.10 | 0.07 | 33.08 | 1.00E+06 | 4.18E+04 | 95.82 | 1.00 | 1.00 | 0.00 | 1.32E-04
2 | 25.00 | 25.05 | 0.21 | 1.00E+06 | 4.22E+03 | 99.58 | 1.00 | 1.00 | 0.00 | 4.41E-05
3 | 0.10 | 0.00 | 99.90 | 2.00E+02 | 2.08E+02 | 3.85 | 1.00 | 1.06 | 5.53 | 1.12E-04
4 | 0.10 | 0.14 | 40.15 | 1.00E+06 | 6.63E+03 | 99.34 | 2.50 | 2.45 | 1.80 | 5.23E-05
5 | 25.00 | 25.22 | 0.86 | 1.00E+06 | 4.58E+03 | 99.54 | 2.50 | 2.42 | 3.09 | 3.20E-05
6 | 0.10 | 0.02 | 79.86 | 2.00E+02 | 2.02E+02 | 0.78 | 2.50 | 2.53 | 1.24 | 4.11E-05
7 | 0.10 | 0.53 | 426.42 | 1.00E+06 | 3.11E+04 | 96.89 | 5.00 | 4.72 | 5.55 | 7.62E-05
8 | 25.00 | 25.02 | 0.06 | 2.00E+02 | 2.09E+02 | 4.70 | 5.00 | 5.00 | 0.01 | 2.79E-05
Case 1 has highest RMSE in all cases
  More noisy data
Large %error for high Rsh and low Rs
Low %error for n
RMSE is not ultimate indicator of accuracy
  Observe case 3 and 1

## Slide 30: Fitting silicon solar cell IV data
Experimental data from a 57 mm diameter commercial (R.T.C France) silicon solar cell at 33 C.
Notes: Explain the machine learning. Is sensitive and it doesn’t have physical meaning and based on

## Slide 31: Comparing Bee Swarm Method with this model
Rs |  |  | Rsh |  |  | n |  |  | RMSE = …… |  | 
This method | Modified bee swarm | %Error | This method | Modified bee swarm | %Error | This method | Modified bee swarm | %Error | This method | Modified bee swarm | %difference
0.043 | 0.036 | 17.34 | 43.71 | 53.40 | 18.15 | 1.43 | 1.48 | 3.48 | 2.50E-03 | 9.86E-04 | 86.85
Notes: Define RSME

## Slide 32: Fitting perovskite solar cells
Notes: Make it clear that it is real data. The middle one doesn’t fit well due to abnomaility in the solar cells. Could be hysteresis.

## Slide 33
Data | Rs | Rsh | n | RMSE
1 | 5.73 | 2.13E+04 | 2.10 | 1.07E-05
2 | 0.00 | 9.40E+03 | 2.76 | 2.88E-05
3 | 15.89 | 3.66E+04 | 3.11 | 6.50E-06
Notes: Keep the scale the same. Don’t keep it as zero.

## Slide 34: Conclusion

## Slide 35: Limitations and future work
Cells with extremely large Rsh or low Rs cannot be extracted accurately
In some cases the single diode may not be an accurate representation of the IV data.
Notes: Conclusion. Highlight what we achived. And we need do say everything we did. Just make it understand we.

## Slide 36: Acknowledgments
Professor Udo Bach
Dr Kevin Reitwky
Dr Sonia